## Slide 1
Interactions of photons with Matter
Carlos Avila
Physics Department
Universidad de Los Andes, Colombia
Departamento
de Física

## Slide 2
Radiation
Ionizing
Directly ionizing
Indirectly ionizing
Non-ionizing
EM WAVES
l≥ 100nm
Electrons
Protons
Neutrons
a particles
EM WAVES
with l< 100nm
X rays
(0.01 nm < l < 10 nm )
g rays
(l < 0.01 nm )
UV
Visible
Infrared
Microwaves
Radio waves

## Slide 3
Talk Content
Photoelectric effec
Compton effect
Rayleigh Scattering
Pair Production
Inroduction to XPCI
Departamento
de Física

## Slide 4
Photoelectric effect
Kinetic energy of the ejected electron:
Transition rate for photoelectric absorption:
For a hidrogen-like atom in the ground state:
For atomic dimensions:
dipole approximation
Assuming polarization along the z-axis:
The final sate is a free electron:
Solving the integral and performing angular averaging:
The number of states in a shell of radius k and thickness dk
with
This is the plane wave aproximation

## Slide 5
Photoelectric absortion cross section
where
This equation allows to calculate the high energy limit :
The low energy limit ( ) requires to modify for the ejected electron: The electron is not free, it is influenced by the Coulomb potential:
In the limit
Stobbe formula
Quantun Mechanics, special chapters, W. Greiner, Springer 1998
Quantum Electrodynamics, W. Greiner, J. Reinhart, Springer, 2009
Relativistic Quantum mechics and field, theory, F. Gross, J. Wiley&sons, 1993

## Slide 6
Characteristic X-ray emission
https://oncologymedicalphysics.com/kilovoltage-x-ray-generation/
https://radioactivity.eu.com/articles/phenomenon/photoelectric_effect
https://www.careers360.com/physics/characteristic-x-rays-topic-pge
Auger electrons
An X-ray photon is emitted when a higher shell electron ocupies a vacancy from an ejected electron due to ionization
Secondary electrons can be emitted from an atom during relaxation
https://www.ossila.com/pages/auger-electrons

## Slide 7
Linear attenuation coefficient
(Beer-Lambert law)
Mass attenuation coefficient:
;
Half value layer
Thickness needed to reduce incident beam intensity by half:
Some data bases for attenutaion coefficients:
NIST-XCOM: https://physics.nist.gov/PhysRefData/Xcom/html/xcom1.html
HENKE: https://henke.lbl.gov/optical_constants/
Beam hardening
A polychromatic X-ray beam becomes more energetic ( "harder") as it passes through an object

## Slide 8
K-edge subtraction imaging
The abrupt increase in the photoelectric x-section at the K-shell is useful for X-ray imaging
https://www.spectralphotoncountingct.com/en/page/contrast-agents-k-edge-imaging
Take 2 images at energies below and a bove a K-edge:
For normal tissue:
For a contrast agent:
Image 1:
Image 2:
Take logarithms and subtract:
A common technique in Angiography, Cancer imaging, contrast-enhanced mammography, material id, etc.
Photon counting detectors with polychromatic sources:
Take only one image and divide in energy bins.

## Slide 9
Compton scattering
https://radiologykey.com/x-ray-imaging-fundamentals/
We can get the Compton cross section from Feynman rules (QED):
Klein-Nishina Formula
When Thompson scattering:
When

## Slide 10
Compton scattering: effect on imaging
In conventional X-ray imaging: Compton scattering is a source of image degradation. Solution:
https://www.upstate.edu/radiology/education/rsna/radiography/scattergrid.php
Compton Camera
Reconstruct direction of gamma rays in the energy range where Compton scattering is the dominant effect
https://www.researchgate.net/figure/Principle-of-a-Compton-camera-The-Compton-scattering-angle-is-the-opening-angle-of-the_fig1_224353796
Compton back-scattering imaging

## Slide 11
Rayleigh scattering
https://radiologykey.com/x-ray-imaging-fundamentals/
Elastic scattering of photons by particles with sizes smaller than the the photon wavelenght.
If we assume a plane with polarization along the x-axis:
The equation of motion for a bound electron:
There is an induced dipole moment:
The power radiated from an oscillating dipole is:
The inciden EM wave intensity:
Then, the Rayleigh cross section can be found as:
This equation fails when
We need to introduce atomic form factor:
For a hidrogen-like charge distribution:
At large energies:
Rayleigh scattering plays an important role in Dark field imaging.

## Slide 12
Pair production
A pesence of a nucleus is needed to absorb mometum.
Threshold energy:
In the limit
Pair production is negligible in standard x-ray medical imaging.
It is useful in High energy ray imaging
important in
Positron emisión tomography

## Slide 13
For soft tissue:
Photoelectric x-section dominates for
Compton scattering dominates for
Pair production is predominant for

## Slide 14
Starting from Beer-Lambert law:
For an object 2 embedded in another object 1:
Contrast can be defined as:
Detector
Source
X-RAY ATTENUATION IMAGING BASIC PRINCIPLE
For polychromatic sources:
Attenuation imaging produces poor contrast of Object 2 in cases where (hollow area of bones) or (blood within a blood vessel).

## Slide 15
X ray phase contrast imaging (XPCI)
Many biological and human tissues are soft: they have low X- ray absorption  they are difficult to visualize with conventional X ray techniques:
Breast Tissue
Blood Vessels ( withouth a contrast agent)
2 specific cases:
The EM wave propagating through the sample is
In the x ray energy range the index of refraction can be written as :

Phase effects are produced by :
Attenuation effects are caused by :
For many soft tissues is ~ 3 orders of magnitude greater than  phase effects could enhance Image constrast
Departamento
de Física

## Slide 16
Transport of intensity equation and XPCI
Maxwell equations in vacuum:
For a monochormatic wave propagating in the z direction:
W and applying the paraxial approximation (: the wave propagates with very small angles with respect to the propation axis):
The intensity of the wave is:
T.I.E.
T.I.E. : The phase gradient influences the wave intensity!
A finite differences solution of T.I.E.:
The wave intensity depends on the gradiente and laplacian of the phase
Phase-contrast techniques are designed to measure the gradient or the Laplacian of the phase
To account for small angle scattering form sample microstructure a difusión term is added to the T.I.E.:
Fokker-Planck equation: allows Dark field imaging

## Slide 17
PHASE RETRIEVAL
One often cited technique in the literature: Paganin´s method, which assumes:
The sample is uniform
The sample is made of a single material
The ratio remains constant throug the sample
since
Replacing and into the T.I.E.:
Taking the Fourier transform and simplifying:
Since
There are more methods to retrieve the pase which depend on the XPCI technique, including the training of NN.

## Slide 18
XPCI methods at UNIANDES HEP _LAB
1) Inline - Free propagation
2) Single Mask Edge Illumination
3) Speckle based

## Slide 19
CONCLUSIONS
A detailed understanding of photon–matter interaction cross sections as a function of energy enables the optimal use of different imaging techniques across distinct photon-energy regimes.
Databases of X-ray interactions with matter are built upon theoretical calculations from quantum electrodynamics (QED) and atomic physics, and are validated against experimental measurements.
The theoretical foundations of X-ray phase-contrast imaging (XPCI) are the Transport of Intensity Equation (TIE) and the Fokker–Planck equation.